Abstract title: Quantitative Methodology for Validating STAGE MRI Diagnostic Adequacy Using Expert Scores and Image Contrast

Authors: Paul Rowley, MD, Jonathan Mancao, MD, Kurt Cicilioni, MD, Sam Barnes, PhD, Sean Sethi, PhD, Jennifer Burns-Benggon, MD, Karen Tong, MD

Keywords (up to 5): sequence development, clinical implementation, validation methodology, image contrast, expert assessment

Impact (40 words max): This methodology enables quantitative validation of abbreviated MRI protocols by correlating objective image contrast metrics with expert radiologist assessments, providing a transferable framework for protocol optimization and quality control in time-critical neuroimaging applications.

Synopsis (100 words total):

Motivation: Abbreviated MRI protocols require objective validation methods to establish diagnostic adequacy, yet existing approaches rely primarily on subjective expert assessment without quantitative thresholds.

Goal(s): This study developed a quantitative methodology correlating objective image contrast metrics with expert radiologist scores to establish diagnostic adequacy thresholds for STAGE protocols.

Approach: We analyzed paired conventional and STAGE acquisitions in 39 adult patients undergoing evaluation for stroke, correlating gray matter/white matter contrast ratios and similarity metrics with expert scores to identify quantitative thresholds for diagnostic adequacy.

Results: Similarity metrics correlated significantly with expert scores, with ROC analysis identifying optimal thresholds for diagnostic adequacy, enabling objective quality assessment.

Body (750 word max; content section headers can be up to 200 characters):

Introduction: STrategically Acquired Gradient Echo (STAGE) imaging employs dual flip angle, multi-echo gradient echo acquisitions with full flow compensation[1]. Validating abbreviated MRI protocols currently relies on expert radiologist assessment without standardized quantitative thresholds, limiting objective quality control and protocol optimization. We developed a methodology correlating objective image contrast metrics with expert scores (1-9 scale, clinical adequacy ≥5) to establish quantitative diagnostic adequacy thresholds. Using adult patients undergoing evaluation for stroke, we demonstrate a transferable framework for systematic protocol evaluation enabling real-time quality control and data-driven protocol refinement.

Methods: Study Design: Retrospective analysis of 39 adult patients (mean age 64.9±16.3 years, range 20-95; 59% male) undergoing evaluation for stroke with paired conventional and STAGE acquisitions at 3T (Siemens). Expert neuroradiologist scored diagnostic quality (1-9 scale, ≥5 clinically adequate) for each sequence.

Quantitative Metrics: (1) Image contrast: GM/WM intensity ratios from percentile-based segmentation (GM: 60-95th, WM: 25-60th). (2) Similarity metrics: SSIM, NCC, MSE, PSNR, DICE comparing conventional vs STAGE.

Statistical Analysis: Correlated objective metrics with expert scores using Pearson/Spearman correlations. ROC analysis identified optimal thresholds for clinical adequacy (expert score ≥5), calculating sensitivity, specificity, and area under curve (AUC) for discriminative performance.

Results: Dataset: 39 adult patients yielded 37 T1 pairs, 27 T2 pairs, 34 SWI pairs after quality control.

Metric-Expert Correlations: DICE overlap correlated significantly with expert scores (r=0.419, p=0.042), demonstrating feasibility of objective quality prediction. Image contrast metrics showed sequence-specific patterns with T1 and T2 demonstrating strong to moderate GM/WM ratio correlations with conventional protocols.

Quantitative Thresholds (ROC Analysis): SWI achieved best discriminative performance for clinical adequacy with NCC≥0.814 (AUC=0.786, sensitivity=1.00, specificity=0.57) and SSIM≥0.470 (AUC=0.643). These thresholds enable automated quality assessment, flagging acquisitions falling below clinical adequacy standards.

Discussion/Conclusion: We established a quantitative methodology for validating abbreviated MRI protocols by correlating objective image contrast metrics with expert radiologist assessments. This approach addresses a critical gap: while expert evaluation remains the gold standard for diagnostic adequacy, lack of quantitative thresholds limits objective quality control and systematic protocol optimization.

Key methodological contributions: (1) Multi-metric framework combining tissue contrast (GM/WM ratios) and similarity metrics (SSIM, NCC, DICE) provides complementary validation dimensions capturing both fundamental MR physics differences and perceptual equivalence. (2) ROC-derived thresholds (e.g., SWI NCC≥0.814) enable automated quality assessment with high sensitivity for detecting clinically adequate images. (3) Significant correlation between DICE overlap and expert scores (r=0.419, p=0.042) demonstrates feasibility of objective quality prediction.

This framework is transferable to other abbreviated protocols, sequences, and imaging centers. Future applications include real-time quality control during acquisition, automated protocol parameter optimization, and establishing adequacy benchmarks for time-critical neuroimaging. The methodology enables data-driven refinement of rapid imaging protocols while maintaining diagnostic standards.

References:
[1] Wang Y, et al. Radiology 2016;279(1):278-285

Figures and Tables (max 5)

Limited to 5 figures. Caption limited to 500 characters.
Note: Tables must be uploaded as high-resolution image files (PNG, JPG, etc.)

Acknowledgements (optional) – not visible to reviewers

Acknowledge funding sources, collaborations, or other contributions.

Include link to source code

Preview figure (optional):

Rather than making comparison of sequence, publish as method for comparing sequences.